## Slide 1
Bangladesh Army University of Engineering & Technology
Department of Computer Science and Engineering
EEE 2261: Electrical Drives and Instrumentation
Winter 2025 Semester
Lecture-02 & 03
Total Credit: 3.0 Credit Taking: 3.0
Course Teacher
S. M. Ashik Al Mashrafi
Lecturer, EEE, BAUET

## Slide 2
Course Content
Chapter | Topics
Introduction | Three phase circuits, alternators and transformers, principles & operation of DC Machines, synchronous, induction, universal and stepper motors, thyristor and microprocessor-based speed control of motors
Instrumentation Amplifiers | Differential, logarithmic, and chopper amplifiers, frequency and voltage measurements using digital techniques, recorders and display devices, spectrum analyzers and logic analyzers, data acquisition and interfacing to microprocessor-based systems;
Transducers | Terminology, types of transducers, principles and applications of photovoltaic, piezoelectric, thermoelectric, variable resistance and opto-electronics transducers. Noise reduction in instrumentation

## Slide 3
Three Phase System
Since both the three-phase source and the three-phase load can be either wye- or delta-connected, we have four possible connections:
Y-Y connection (i.e., Y-connected source with a Y-connected load).
Y-Δ connection.
Δ-Y connection.
Δ-Δ connection.

## Slide 4
Balanced Wye-Wye Connection
A balanced Y-Y system is a three-phase system with a balanced Y-connected source and a balanced Y-connected load.
Fig. 1: A balanced Y-Y system, showing the source, line, and load impedances.
Phase Voltage:

## Slide 5
Balanced Wye-Wye Connection
Fig. 1: A balanced Y-Y system, showing the source, line, and load impedances.
Line Voltage:

## Slide 6
Balanced Wye-Wye Connection
Fig. 1: A balanced Y-Y system, showing the source, line, and load impedances.

## Slide 7
Balanced Wye-Delta Connection
Fig. 2: A balanced Y- Δ system.

## Slide 8
Balanced Delta-Delta Connection
Fig. 3: A balanced Δ - Δ system.

## Slide 9
Balanced Delta-Wye Connection
Fig. 4: A balanced Δ - Y system.

## Slide 10
Balanced Delta-Wye Connection
Fig. 5: Circuit diagram of Example 12.4.
20-j15Ω
20-j15Ω
20-j15Ω

## Slide 11
Balanced Delta-Wye Connection
Fig. 5: Circuit diagram of Example 12.4.
20-j15Ω
20-j15Ω
20-j15Ω

## Slide 12
Balanced Delta-Wye Connection
Fig. 5: Circuit diagram of Example 12.4.
20-j15Ω
20-j15Ω
20-j15Ω

## Slide 13
Why three phase is needed?
A three-phase system can deliver more power than a single-phase system for the same line voltage and current, making it more efficient for heavy loads.
The total instantaneous power in a balanced three-phase system is constant—it does not change with time as the instantaneous power of each phase does.
The three-phase system uses a lesser amount of wire than the single-phase system for the same line voltage.
Material for single phase = 1.33 Material for three phase

## Slide 14
Three phase system
Phase A
Phase B
Phase C
Neutral

## Slide 15
Three phase system